## Kendall Campus
Building/Area | Water Intrusion (Room/Location) | No Power (Room/Location) | No HVAC (Room/Location) | Debris Removal (Room/Location) | Mold & Mildew (Room/Location) | Restoration/Abatement needed (Room/Location) | Images
100 | Large puddle Center of the Koffee House | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld 100
| SGA area against north wall | [5 empty] | Bld 100
1000 |  | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld 1000
2000 |  | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld 2000
2000- Library | [6 empty] | Bld 2000
2000 - C. Yard | [6 empty] | Bld 2000
3000 |  | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld 3000
3000 - SAS Trailer | Wind-blown in small section on south side Rooms:3273,3282,3314,3306,3330 | [5 empty] | Bld 3000
4000 | 4106,4207, 4306,4308 (from window/ceiling) | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld 4000
5000 | 5222 (from ceiling) | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld 5000
6000 | Room 6345 (from ceiling) | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld 6000
7000 | Ground Floor, northeast side of building, room: G303 | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld 7000
8000 | None visible | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld 8000
9000 | Rooms: 9207,9218,9253,9254 | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld 9000
K | None visible | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld K
L | None visible | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A | Bld L
M | East side floors and M233 (from ceiling) | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | M233 | Super Restoration Dispatched | Bld M
N | None visible | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None | N/A
R | Atrium leaks on east side | Power Restored in all areas | HVAC Restored | Complete; Pending SFM Haul-away | None |  | Bld R
| Pooling on secondary roof | [5 empty] | Bld R
| R350 |  |  |  | R350 | Evaluation Conducted by Super R | Bld R
Motor Pool | East side wet. Requires Restoration |  |  |  | Evaluation needed | Super Restoration Dispatched | Motor Pool
Landscape Tech. | None | Potting Shed and Sawtooth shadehouse |  |  |  | Roof and Fence Evaluation needed | Landscape Tech
Environmental Center. | None | [5 empty] | Environmental Center
Gymnasium | None visible | Power Restored in all areas | HVAC Restored | N/A | N/A | N/A | Gym
Baseball Field | None visible | Power Restored in all areas | N/A | N/A | N/A | N/A | Baseball Field
Building/Area | Water Intrusion (Room/Location) | No Power (Room/Location) | No HVAC (Room/Location) | Debris Removal (Room/Location) | Mold & Mildew (Room/Location) | Restoration/Abatement needed (Room/Location) | Images
Softball Field | None visible | Power Restored in all areas | N/A | N/A | N/A | N/A | Softball Field
Soccer Field | None visible | Power Restored in all areas | N/A | N/A | N/A | N/A | Soccer Field
Track | None visible | Power Restored in all areas | N/A | N/A | N/A | N/A | Track
Tennis courts | None visible | Power Restored in all areas | N/A | N/A | N/A | N/A | Tennis Courts
Aquatic Center | N/A | N/A | N/A | N/A | N/A | N/A | Aquatic Center
Pump Room | Flooded | Lost Power | N/A | N/A | N/A | N/A | Pump Room
Parking Lots
Lot 1 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | Lot 1
Lot 2 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | Lot 2
Lot 3 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | Lot 3
Lot 4 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | N/A
Lot 5 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | N/A
Lot 6 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | N/A
Lot 7 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | N/A
Lot 8 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | N/A
Lot 9 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | N/A
Lot 10 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | Lot 10
Lot 11 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | Lot 11
Lot 12 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | N/A
Lot 13 | Ponding Water Issue Resolved | N/A | N/A | Complete; Pending SFM Haul-away | N/A | N/A | Lot 13
Campus Main Entrances & Exits
104th St | Ponding Water Issue Resolved | N/A | N/A | Cleared/No remaining Obstructions | N/A | N/A | 104 St Entrance
107th St | Ponding Water Issue Resolved | N/A | N/A | Cleared/No remaining Obstructions | N/A | N/A | 107 St Entrance
112th St | Ponding Water Issue Resolved | N/A | N/A | Cleared/No remaining Obstructions | N/A | N/A | 112 St Entrance
113th St | Ponding Water Issue Resolved | N/A | N/A | Cleared/No remaining Obstructions | N/A | N/A | 113 St Entrance